Housing Devices, Inc.

ADA 121® Audio Visual Alert System

(For the Hearing & Visually Impaired)

NOTES

Terminal 1 & 2:

1. Maximum Voltage 16 -18 Vac

Terminal 4 & 5:

- Momentary doorbell buttons only (NO lighted buttons, latching buttons, latching relays, power at the button, chime systems are not compatable

# Text boxes

RESET

POWER

TALK      LISTEN   TROUBLE

1ST FLOOR

NORTH

1ST FLOOR

SOUTH

2ND FLOOR

NORTH

2ND FLOOR

###### SOUTH

ELEV LOBBY

3

3

3

2

4

1

Master Station

Relay Card Cabinet

with

Control Board

Relay Cards

Battery Backup Cabinet

With

ADA-35 Amplifier

ADA-24V transformer

Battery Charger

Batteries

##### OR

Amplifier Cabinet

With

ADA – 35 Amplifier

110VAC Power

PUSH

FOR

HELP

HELP  COMING

HELP   REQUESTED

PUSH

FOR

HELP

HELP  COMING

HELP   REQUESTED

PUSH

FOR

HELP

HELP  COMING

HELP   REQUESTED

Area Station

Area Station

Area Station

5