# APARTMENT STATIONS

20 gauge stainless steel construction.  Available with metal or plastic buttons, and mounting hardware.  Standard sized station wired for 3 Common (3 common wires + 1 ring wire 4 wire total). 3/8 bend standard, Mounting for 17 series is a 2 Gang mount. Mounting For 16 series is 2 mounts 6.875 on center (Couch T13). Universal bracket available for other mounting configurations.

#### ACS - 17M		    ACS - 17P			 ACS - 16M		      ACS - 16P

5 1/4” (L) x 5 1/4” (W)	5 1/4” (L) x 5 1/4” (W)

8” (L) x 6 1/2” (W)	8” (L) x 6 1/2” (W)

Use the following crossover chart to identify replacement stations for your current intercom apartment stations:

| Current Apartment Station | HDI Replacement Station | Apartment Station Wiring |
| --- | --- | --- |
| Couch T-350 Couch T-13** American Devices AD700 Auth 308 Auth 2311 Auth 2620-3 Auth 2620-4 Florence Greystone Jeron Mirtone – 401 TekTone – 101 TekTone – 104 Nutone** | ACS – 17P or M ACS – 16P or M ACS – 16P or M ACS – 16P or M ACS – 16P or M ACS – 17P or M ACS – 17P or M ACS – 17P or M ACS – 17P or M ACS – 17P or M ACS – 16P or M (horizontal) ACS – 17P or M ACS – 17P or M ACS – 16P or M (with bracket) | 4 common 2 or 3 common 4 common 4 common 4 common 2 common 3 common 4 common 3 common 3 common 3 common 3 common 4 common 3 common |

** Notes:

Couch T-13 and Nutone apartment stations may not be individually replaced.  All stations must be replaced at the same time, along with the lobby panel and system amplifier.